## Performance commitments summary
https://www.yorkshirewater.com/media/1548/yorkshire-water-annual-performance-report-apr-2018-2019.pdf
OFWAT Code | PC no. | Performance commitment | Definition | As defined on page number | Units | 2014-15 performance level - actual | 2015-16 performance level - actual | 2016-17 performance level - actual | 2017-18 performance level - actual | 2018-19 performance level - actual | 2019-20 performance level - actual
We provide you with water that is clean and safe to drink
WA1 | 1 | Drinking water quality | This measures the quality of our water at the customers’ taps. We take water samples based on the DWI sampling programme, and the results are used to determine the percentage of samples that are at or above pre-defined standards. | P41 | % | 99.953 | 99.954 | 99.962 | 99.953 | 99.962 | 99.949
WA2 | 2 | Significant drinking water events which require corrective action | Any significant incident where the Drinking Water Inspectorate (DWI) has required us to take corrective action to maintain compliance or protect public health. Essentially, this refers to the number of times that the DWI feels that we haven’t dealt with a situation appropriately when we’ve had to notify customers that the quality of our water is not up to acceptable standards. |  | number (nr) | 3 | 5 | 3 | 4 | 5 | 1
WA3 | 3 | Drinking water contacts | The number of times that customers contact us each year because of taste, odour or discolouration issues with our water, and perceived illness as a result of drinking our water. |  | number (nr) | 10570 | 10007 | 9093 | 8100 | 7964 | 6368
WA4 | 4 | Water quality stability and reliability factor | An overall assessment of the long-term stability and reliability for water quality. It’s based on a series of measures which include non-compliance of our water treatment works sites and reservoirs due to coliform bacteria, turbidity and the number of reactive equipment failures. |  | category | Stable | Stable | Stable | Stable | Stable | Stable
We make sure that you always have enough water
WB1 | 5 | Leakage | The total amount of water lost, in distribution and through supply pipes. This includes any losses between the treatment works and the customer’s stop tap but doesn’t include internal plumbing losses. | P42 | number (nr) | 288.42 | 285.12 | 295.16 | 300.28 | 290.1 | 270.8
WB2 | 6 | Water supply interruptions | The number of minutes lost per property served due to supply interruptions of three hours or longer (irrespective of whether it’s planned, unplanned or caused by a third party). |  | minutes lost expressed as a time | 9:29 | 12:53 | 9:47 | 6:58 | 10:28 | 7:34
[5 empty] | Seconds (=60x0.xx) | 28.8 | 53.4 | 46.8 | 57.6 | 27.6
[5 empty] | Decimal | 9.48 | 12.89 | 9.78 | 6.96 | 10.46
WB3 | 7 | Water use | The average daily water consumption per person of population in a dry year. This is only for household consumption. |  | number (nr) | n/a | 141.71 | 137.4 | 135.85 | 133.7 | 135
WB4 | 8 | Water network stability and reliability factor | An overall assessment of the long-term stability and reliability for the water networks. It’s based on a series of measures which include burst mains, supply interruptions of more than 12 hours, low water pressure, customer contacts for discolouration and reactive equipment failures. |  | category | Stable | Stable | Stable | Stable | Stable | Stable
We take care of your waste water and protect you and the environment from sewer flooding
SA1 | 9 | Internal sewer flooding incidents | The total number of incidents of internal sewer flooding of homes and businesses during the year. | P43 | number (nr) | 1947 | 1842 | 1769 | 1682 | 1692 | 1602
SA2 | 10 | External sewer flooding incidents | The total number of incidents of areas affected by external flooding during the year. |  | number (nr) | 8686 | 9037 | 9145 | 9296 | 9116 | 9139
SA3a | 11 | Pollution incidents - category 1 and 2 | The total number of pollution incidents caused by our waste water assets which have been classified as having a serious effect. |  | number (nr) | 4 | 5 | 4 | 3 | 11 | 7
SA3b |  | Pollution incidents - category 3 | The total number of pollution incidents caused by our waste water assets which have been classified as having a minor effect. |  | number (nr) | 170 | 180 | 207 | 202 | 188 | 159
SA4 | 12 | Sewer network stability and reliability factor | An overall assessment of the long-term stability and reliability for the waste water networks. It’s based on a series of measures which include sewer collapses, sewer blockages, properties flooded due to overloaded sewers and other causes, certain types of pollution incidents and reactive equipment failures. |  | category | Stable | Stable | Stable | Stable | Stable | Stable
We protect and improve the water environment
WC1 / SB4 | 13 | Length of river improved | The length of river (kilometres) in the Yorkshire Water region improved through our investments during 2015-2020. | P44 | number (nr) | n/a | 0 | 0 | - | 40 | 459km
WC2 / SB3 | 14 | Solutions delivered by working with others | The number of solutions we deliver through working with multi-agencies, organisations or individuals. |  | number (nr) | n/a | 4 | 5 | 12 | 11 | 11
WC3 / SB5 | 15 | Amount of land conserved and enhanced | The amount of land (hectares) that we conserve and enhance. This includes land within the region and includes both Yorkshire Water and nonYorkshire Water land. |  | number (nr) | 11466 | 11466 | 11492 | 11479 | 11524 | 11806
WC4 | 16 | Recreational visitor satisfaction | An assessment of customers’ satisfaction with our current facilities, access and use of recreational sites, for example, walks around our reservoirs. |  | text | n/a | Published | Published | Published | 99% | 99%
SB1 | 17 | Number of Yorkshire's designated bathing waters that exceed the required quality standard | The number of Yorkshire’s bathing waters (for example, beaches) where the requirements of the EU Bathing Water Directive are exceeded based on bathing water samples taken at designated beaches. |  | number (nr) | 18 | 18 | 17 | 18 | 17 | 16
SB2 | 18 | Wastewater quality stability and reliability factor | An overall assessment of the long-term stability and reliability for waste water quality. It’s based on a series of measures which includes the number of waste water treatment works failing to meet compliance and reactive equipment failures. |  | category | Stable | Stable | Stable | Stable | Stable | Stable
We understand our impact on the wider environment and act responsibly
WD1 / SC1 / RC1 | 19 | Proportion of energy use generated by renewable technology | The amount of energy (electricity) Yorkshire Water generates through renewable technology expressed as a % of total energy consumption. | P45 | % | 12.26 | 11.258 | 10.44 | 11.44 | 11.3% | 14.6%
WD2 / SC2 / RC2 | 20 | Proportion of waste diverted from landfill | The amount of waste from all Yorkshire Water activities (office, operational or construction) that’s recycled or re-used as a % of total waste produced. |  | % | 93.5 | 98.91 | 99.32 | 99.35 | 99.6% | 99.6%
We provide the level of customer service you expect and value
RA1 | 21 | Customer service - service incentive mechanism (SIM) | The Ofwat qualitative measure of customer service satisfaction called Service Incentive Mechanism (SIM). | P46 | score | 82 | 82.6 | 83.4 | 84.27 | 84 | 83.2
RA2 | 22 | Service commitment failures | The total number of Guaranteed Standards of Service (GSS) events. |  | number (nr) | 10610 | 10567 | 10356 | 12203 | 14221 | 15140
RA3 | 23 | Overall customer satisfaction (CCWater annual tracking survey) | The reported value (%) for overall customer satisfaction determined by the annual Consumer Council for Water tracking survey. |  | % | 94% (water) 89% (waste) | 95% (Water) 92% (Waste) | 93% (Water) 91% (Waste) | 94%(water), 89% (wastewater) | 95% (water), 88% (wastewater) | 94% (water), 90% (wastewater)
We keep your bills as low as possible
RB1 | 24 | Cost of bad debt to customers (expressed as proportion of bill) | The cost to bill paying customers to cover the cost of interest on revenue that’s not collected, debt written off and debt management costs, expressed as a % of the average annual bill. | P47 | % | 3.18 | 3.05 | 2.94 | 3.1 | 3.02 | 3.06
RB2 | 25 | Number of people who we help to pay their bill | The number of customers who are assisted to pay their bill. This includes, but isn’t limited to: Water Sure, Resolve and the Community Trust, plus customers who take up a water meter as a result of targeted advice following identification of an affordability issue. |  | number (nr) | n/a | 22735 | 26902 | 28853 | 31606 | 35939
RB3 | 26 | Value for money (CCWater annual tracking survey) | The reported % for value for money as determined by the annual Consumer Council for Water tracking survey. |  | % | 76% (water) 77 (waste) | 82% (Water) 83% (Waste) | 79% (Water) 82% (Waste) | 76%(Water), 79% (Wastewater) | 77% (Water), 79% (wastewater) | 79% (Water), 80% (wastewater)